## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
30 Brownsea Place
Millway 1
Sheriff Hill
NE9 5PZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8437
DATE OF REPORT: 16/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8437
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 30 Brownsea Place
Millway 1
Sheriff Hill
NE9 5PZ
Carried Out On | 16/06/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Mrs Hobson reports during morning call this morning that her heating won't come on and she needs it for her arthritis hot water is ok. Called in by Wellbeing & Compliance Assistant

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8437
SECTION 3: Report
Attend site 1300 Gain access to plantvroom find heating still on manual so gain access to flat 30 turn all trvs up and heating all comes on all radiators now heating up. The heating to the whole building is on for flat no 30 Off site 1400 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8437
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8437
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8437
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8437
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8437
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes