## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1-38 Moordale Court
Fabian Road
Middlesbrough
TS6 9RH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8483
DATE OF REPORT: 17/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8483
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1-38 Moordale Court
Fabian Road
Middlesbrough
TS6 9RH
Carried Out On | 17/06/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
Please check boiler - tenant from number 21 has reported even though the radiators are turned off in the property the heat is pouring out of them making the temperature unbearable inside their property - they have their windows and doors open to try to cool the rooms down - several other residents are having the same issue and they think it is to do with the main boiler not an issue with the radiators -.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8483
SECTION 3: Report
Found hot water temperature issues are down to 2 faulty stats flamco dual thermostats Fan required for Quinta pro 2 sensor tops for satellite sensor valves these are hallway under stairs and room 38 A wilo yonos maxo pump head required too Also had to recommission booster pump as kept going in to fault looking for another pump

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8483
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8483
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8483
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8483
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8483
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes