## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
5 Renwick House
Abbey Meadows
Kirkhill
NE61 2BN
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8521
DATE OF REPORT: 18/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8521
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 5 Renwick House
Abbey Meadows
Kirkhill
NE61 2BN
Carried Out On | 18/06/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Hot shut off valve under bathroom sink is leaking - for whole flat. Check cold as unable to turn. ---- As per Ken White (Reported by Rob Nixon)

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8521
SECTION 3: Report
Attend site 1230 Find all pipework boxed in and access very poor had to squeeze into under sink compartment and find 22mm stop cock leaking , strip down and re pack gland reassemble and test all ok Free off cold water stop cock Work had to be carried out live as no further isolation up stream so whole site would have been turned off, and there's no manager on site to inform. Cleared up the spillage and tested all water outlets all have hot water all ok Off site 1400 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8521
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8521
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8521
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8521
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8521
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes