## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1-31 Moorcroft
Bowman drive
Dudley
NE23 7FF
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-8522
DATE OF REPORT: 22/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8522
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 1-31 Moorcroft
Bowman drive
Dudley
NE23 7FF
Carried Out On | 21/06/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Supply and fit primary pump No.1

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8522
SECTION 3: Report
Attend site 0820 to supp,y and fit primary pump no1 Gain access to plant room , switch off all plant and drain down primary heating circuit, strip out the faulty primary no1 and install new grundfos magna 3 pump. Once fitted wire in to bms and commissioned and tested all ok. Offsite 1045 complete Parts used 1 no magna 3 pump

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8522
SECTION 4: Photos
Room / Area
Description
Notes
Siezed heating pump
Room / Area
Description
Notes
New magna 3 installed commissioned and tested
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8522
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8522
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8522
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8522
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes