## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Whitwell Court
Gilesgate
Durham
Dh1 1qa
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-8535
DATE OF REPORT: 18/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8535
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 7 Whitwell Court
Gilesgate
Durham
Dh1 1qa
Carried Out On | 18/06/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Investigate water underneath boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8535
SECTION 3: Report
Leaking from NTC sensor and potentially plate heat exchanger connection. looks like it had been for a long time as caused severe corrosion to boiler casing where diverter cartridge housing connects to the boiler. Have to be careful when changing these parts as if body of boiler breaks boiler will need replacing. Not leaking on CH side of plate only cold water as boiler pressure is fine. NTC sensor part number 5114725 plate heat exchanger washers 248049.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8535
SECTION 4: Photos
Room / Area
Kitchen
Description
Notes
Corrosion to boiler
Room / Area
Kitchen
Description
Notes
Corrosion to boiler
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8535
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8535
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8535
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8535
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes