## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 Victoria Court
Front Street
North Shields
Ne30 4qr
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-8536
DATE OF REPORT: 22/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8536
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 1 Victoria Court
Front Street
North Shields
Ne30 4qr
Carried Out On | 18/06/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
No Hw ( whole building affected )

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8536
SECTION 3: Report
Pump on DHW flow pipe to cylinder not running. Turned across to manual and pump fired. Tested hot water in communal toilet and was luke warm. Said it would take a while to come through if hot water has been off a while.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8536
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8536
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8536
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8536
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8536
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes