## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
17 park side court
Chopwell
Newcastle upon tyne
Ne17 7ds
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-8538
DATE OF REPORT: 20/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8538
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 17 park side court
Chopwell
Newcastle upon tyne
Ne17 7ds
Carried Out On | 20/06/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
No heating/hw

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8538
SECTION 3: Report
Low pressure on boiler, checked for reasons that would cause pressure loss. Nothing obvious showing cause of pressure loss. Topped up boiler pressure and boiler fired. Tested both heating and hot water and both working fine.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8538
SECTION 4: Photos
Room / Area
Hallway cupboard
Description
Notes
Burner on
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8538
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8538
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8538
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8538
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes