## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Sunbeam House
Westmorland Street
Wallsend
Ne28 7ry
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8539
DATE OF REPORT: 20/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8539
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Sunbeam House
Westmorland Street
Wallsend
Ne28 7ry
Carried Out On | 20/06/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
No Heating/hw

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8539
SECTION 3: Report
No heating at property. CH thermostat on front of boiler had been turned right down so boiler was reaching temperature straight away then shutting off. Turned up thermostat to mark that was on front of boiler then ran for around 15 minutes and heating stayed on. Tested running hot water then making sure demand switched back across to heating with no issues. Pressure was a little high but due to prior pressure issues after speaking to colleague left pressure as it was to not cause any further issues.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8539
SECTION 4: Photos
Room / Area
Kitchen
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8539
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8539
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8539
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8539
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes