## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
15 Trinity Court
Roman Way
Corbridge
NE45 5JN
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8551
DATE OF REPORT: 05/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8551
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 15 Trinity Court
Roman Way
Corbridge
NE45 5JN
Carried Out On | 22/06/2021, 05/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
The heating in the flat cannot be regulated it is too hot.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8551
SECTION 3: Report
Attend site 0815 for flat being to hot Investigate find main heating valve manually opened and all actuator heads removed (site said we attended in the winter for no heating so I suspect the engineer removed the actuators on that visit to get heating on) I found the batteries in the time clock flat so I replaced those and this operated the main heating valve this is now off, I've reinstated the actuators and then tested the valves and all components all ok but noticed that the clock on the Siemens RAV11 time clock not working so I've ordered a replacement. Heating now off in the flat but can be turned on by the tenants Offsite 1015 fow On site 1300 05/07/21 Pick up new time clock ordered last week, gain access to flat and isolate electrical supply and stripmout time clock , wire in new one and commission and testvall ok Parts used 1 no seimens rav11 time clock Offsite 1330 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8551
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8551
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8551
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8551
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8551
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes