## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
17 Parkside
Tanfield Lea
Stanley
DH9 9HW
CARRIED OUT ON BEHALF OF
G Emerson
REPORT NUMBER: 21-8570
DATE OF REPORT: 30/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8570
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | G Emerson
Address | 8 Seagent Place
The Woodlands
Shotley Bridge
Consett
DH8 0TR
Site Address | 17 Parkside
Tanfield Lea
Stanley
DH9 9HW
Carried Out On | 30/06/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Annual Gas Safety Check of all Gas appliances throughout property Please check shower whilsit onsite, report any FOWs back to Emily

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8570
SECTION 3: Report
Triton electric shower not working, power to shower is ok, electrics not tripping, new electric shower recommend. Customer called office with complaint that I had damaged the plywood board used to conceal the gas fire. As the gas fire is still in situ inspection is still required to confirm no gas is getting to the appliance, this was explained to the customer. The customers partner then proceeded to remove the board which tore slightly due to the glue used to secure it, the board wasn't touched by myself before or during removal. See images below.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8570
SECTION 4: Photos
Room / Area
Description
Flue sample points
Notes
Room / Area
Lounge
Description
Gas fire
Notes
Room / Area
Lounge
Description
Gas fire
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8570
SECTION 4: Photos
Room / Area
Bathroom
Description
Shower
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8570
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8570
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8570
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes