## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
59 Whinside
Stanley
County Durham
DH9 8AT
CARRIED OUT ON BEHALF OF
G Emerson
REPORT NUMBER: 21-8572
DATE OF REPORT: 18/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8572
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | G Emerson
Address | 8 Seagent Place
The Woodlands
Shotley Bridge
Consett
DH8 0TR
Site Address | 59 Whinside
Stanley
County Durham
DH9 8AT
Carried Out On | 18/08/2021
Survey Completed By | Gary Wood
SECTION 2: Introduction
Annual Gas Safety Check to all gas appliances throughout the property.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8572
SECTION 3: Report
Unable to access gas meter, tenant has blocked access to side of property with rubbish and old pallets etc...... advised tenant to remove obstruction so access can be gained to meter box for testing purposes and in case of emergency... pictures provided.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8572
SECTION 4: Photos
Room / Area
Description
Debris obstructing gas meter
Notes
Room / Area
Description
Flue sample points
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8572
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8572
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8572
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8572
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes