## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Mayfield Park
Bristol Drive
Wallsend
NE28 9BF
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-8604
DATE OF REPORT: 06/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8604
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Mayfield Park
Bristol Drive
Wallsend
NE28 9BF
Carried Out On | 22/06/2021 23/06/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
3 x leaking manifolds in floor above bin room ceiling are leaking and water near emergency light - hatch cut for access by MSPS

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8604
SECTION 3: Report
No one on site so had to search out the bin store (theres at least 6) and find the leaking manifold boxing in to remove , isolate the manifold from the heating g and drain down. Will return in the morning to replace the cartridges x 7 Attend site had to pick up more cartridges from josh Gain access to manifold strip out 7 leaking cartridges and replace with new fill and vent system. Test all ok find some actuators are open some are shut. Trace all back to tamper proof room stats turn on all and check that the 7 open then turn off the stats and make sure all turn off, all ok Set all to 19° all working ok Parts used 7 no giacomini heating cartridges (van stock )

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8604
SECTION 4: Photos
Room / Area
Description
Notes
7 leaking giacomini heating cartridges
Room / Area
Description
Notes
7 giacomini heating cartridges changed system filled and vented all ok
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8604
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8604
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8604
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8604
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes