## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Moordale Court
Fabian Road
Eston
TS6 9RH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8607
DATE OF REPORT: 23/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8607
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Moordale Court
Fabian Road
Eston
TS6 9RH
Carried Out On | 23/06/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
Commercial Boiler - water not heating up - Residents are reporting water temperature is cool today tested communal areas water does not appear to be getting hot. Recent repair by Zenith issues following this repair yesterday.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8607
SECTION 3: Report
the reason for the pressure been so poor on the 3rd floor is the water board have obviously turned down the pressure to 2 bar which is no good for here also when they are turning the taps on on a morning air is coming out and discolouration and the boilers won’t heat any water up if there is nothing there to heat up. the pressure of the mains water would usually be 4 to 6 bar

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8607
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8607
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8607
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8607
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8607
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes