## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Burn Promenade
Burn Park Road
Houghton-Le-Spring
DH4 5EJ
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 21-8609
DATE OF REPORT: 01/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8609
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Burn Promenade
Burn Park Road
Houghton-Le-Spring
DH4 5EJ
Carried Out On | 01/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Water is pooling in the bottom of the lift pit this needs pumping out and investigated to see where the water is coming from. Joint visit with classic lifts 1st july 8am.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8609
SECTION 3: Report
Attend site 0800 With the lift company gain access to the basement of the lift , using a mop and bucket clear water from lift shaft and investigate where water is coming from , it seems to be seeping in from the foundations , and I'd recomend tanking the walls and digging in a pit for a sump pump to be installed and the waste water to be pumped up in to the corridor ceiling space and then through the ceiling space to outside by the emergency exit. This would need surveying by a qualified contractor as the lift shaft is a confined space and permission would be needed Offsite 0930

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8609
SECTION 4: Photos
Room / Area
Description
Notes
Bottom of lift shaft
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8609
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8609
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8609
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8609
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes