## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
32 The Manors
Adderlane Road
West Wylam
Ne42 5et
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8631
DATE OF REPORT: 23/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8631
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 32 The Manors
Adderlane Road
West Wylam
Ne42 5et
Carried Out On | 23/06/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
1-46 The Manors

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8631
SECTION 3: Report
X2 New Actuator head for 3 port on both calorifiers. Replaced faulty bellow with pipework section. Advised other bellows to be replaced to prevent any future failures. Advised BMS to visit as soon as possible.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8631
SECTION 4: Photos
Room / Area
Plant room
Description
Required Actuator head
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8631
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8631
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8631
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8631
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes