## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Brownsea Place
Sheriff Hill
Gateshead
NE9 5PZ
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 21-8743
DATE OF REPORT: 04/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8743
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Brownsea Place
Sheriff Hill
Gateshead
NE9 5PZ
Carried Out On | 06/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
AGSC TD 04/08/2021 - Please see last years paperwork in email

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8743
SECTION 3: Report
Attend site 0800 to carry out an annual ppm 2 no potterton paramount four 95 heating boilers stripped cleaned and re commission all ok, had to fit a 2K 0.5W resistor to boiler no 2 in the atf connector to allow high and low fire . 2 no magna 1 32- 60 shunt pumps all ok no issues 1 no flamco flexifiller 225d pressurisation unit all ok no issues 1 no heating expansion vessel isolated drain and pressure checked 1.5 bar 1 no magna 1 50-120 north zone heating pump ok no issues 1 no magna 1 40-120 south zone heating pump ok no issues 1 no magna 1 32-60 primary heating pump ok no issues 1 no acv smart calorfier all ok no issues All ok no issues Offsite 1300 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8743
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8743
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8743
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8743
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8743
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes