## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
9 Edward Cain Court
Horden
Peterlee
SR8 4EB
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-8794
DATE OF REPORT: 26/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8794
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 9 Edward Cain Court
Horden
Peterlee
SR8 4EB
Carried Out On | 25/06/2021
Survey Completed By | Samuel Coleman
SECTION 2: Introduction
No hw

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8794
SECTION 3: Report
F28 fault on vaillant ecotec sustain, eventually discovered condensate pipe backing up, condensate cleared, fault cleared Hot water now working. Batteries renewed in room thermostat and device paired which solved temperamental central heating issue.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8794
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8794
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8794
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8794
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8794
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes