## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
11 Stanley Court
Stanley
County Durham
DH9 6HD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8826
DATE OF REPORT: 28/06/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8826
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 11 Stanley Court
Stanley
County Durham
DH9 6HD
Carried Out On | 28/06/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Radiators not heating up - Bedroom and Living rm radiators not heating up ---- ---- Elderly Tenants ---- No Covid issues

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8826
SECTION 3: Report
Attend site 1630 for no heating. Attend flat and strip boxing in out to gain access to heating 3 port valve check operation, all ok find heating off to the building. Gain access to plantroom check bms find off on outside air temp which is 21°. Manually open the heating three port valve and go back to the flat the radiators are on now. Explain to the tenants that all is working as it should (the windows are open), tenant said they are warm enough it was the fact that the radiators weren't on, left site tennant is happy. Return to plantroom and put three port back into auto and it closed Offsite all working as it should.1730 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8826
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8826
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8826
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8826
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8826
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes