## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
21 Lynwood House
34 Durham Road
Lanchester
DH7 0LS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8831
DATE OF REPORT: 13/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8831
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 21 Lynwood House
34 Durham Road
Lanchester
DH7 0LS
Carried Out On | 29/06/2021, 13/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Unable to turn heating off. Poss. open valve (underfloor). Zenith to attend.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8831
SECTION 3: Report
Attend site 1530 for heating not turning off. Gain access to underfloor heating manifold and find all valves closed but pipework hot , valves stripped out and find all worn and not closing correctly. Had to order new uponor cartridges and actuators as no where have them in stock. Isolate the manifold so heating is off as tenant is too warm and will return to site once parts are in stock. Offsite 1630 fow Pick parts up from Spencer and attend site 1315 Attend and isolate underfloor heating and drain down , strip out actuators and remove cartridges, replace with new and fill and vent system. Replace all 4 actuators once replaced check operation of all components on and off , all components now working correctly Parts used 4 x Uponor cartridges 4 x Uponor actuators Offsite 1445 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8831
SECTION 4: Photos
Room / Area
Description
Notes
Replace all cartridges and actuators
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8831
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8831
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8831
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8831
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes