## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Chapelville
Front Street
Seaton Burn
NE13 6EH
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-8885
DATE OF REPORT: 26/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8885
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 7 Chapelville
Front Street
Seaton Burn
NE13 6EH
Carried Out On | 08/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Dave Aston previously attended and ordered 3 room stats - in stock at Border Heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8885
SECTION 3: Report
Pick up parts from wholesalers travel to site 0830 onsite Gain access to flat and isolate electrical supply to the underfloor heating system. Change 3 x room stats existing stats are not available so new stats are a replacement and have to have a link wired in , once all wired in all components were then checked for operation valves tested open and closed Parts used 3 x tas room stats 3 x 2.5mm links

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8885
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8885
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8885
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8885
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8885
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes