## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
25 Burn Promendade
Burn Park Road
Houghton-Le-Spring
DH4 5EJ
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 21-8935
DATE OF REPORT: 01/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8935
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | 25 Burn Promendade
Burn Park Road
Houghton-Le-Spring
DH4 5EJ
Carried Out On | 01/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Flat 25 - The thermostat in the living room is not working. When just about switched off to say 5 degrees the heating continues at a high temperature.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8935
SECTION 3: Report
Attend site 1200 for 2 port not shutting properly Find old valve hard piped up in steel so isolate heating flow and return and drain flat heating down strip out the existing 2 port valve and re pipe up using copper and install the new valve fill and vent system wire up and commission and test all ok Parts used 1 no honeywell 2 port valve 2 no 3/4" -22mm unions 1 22mm copper Offsire 1400 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8935
SECTION 4: Photos
Room / Area
Description
Notes
New valve being fitted
Room / Area
Description
Notes
New valve fitted
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8935
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8935
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8935
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8935
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes