## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
29 Castle Lea
Prudhoe
NE42 6NH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8938
DATE OF REPORT: 14/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8938
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 29 Castle Lea
Prudhoe
NE42 6NH
Carried Out On | 13/07/2021 , 14/07/2021
Survey Completed By | Adam McCallum, Carl Stephenson
SECTION 2: Introduction
Kitchen & Bathroom Installations

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8938
SECTION 3: Report
Strip out bathroom and lift old vinyl for joiner and plasterer. Fixed leaking radiator at number 14 re hang and fit radiator in number 20 in kitchen and also fix leak under sink in same property. Re adjust stop tap in number 32. Fitted new toilet in 29. Removed radiator from kitchen in 29 for plasterer. 14th july replace kitchen sink in number 20 as was damaged re hung and refitted radiator in bathroom in number 18,piped up and fitted bathroom sink in number 29. Done first fix plumbing and second fix in kitchen at number 32 as well as fitting kitchen sink and putting new waste outside. removed radiator from bathroom in number 20 for decorator.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8938
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8938
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8938
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8938
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8938
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes