## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
28 Carnaby Close
Prudhoe
NE42 5QY
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8948
DATE OF REPORT: 02/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8948
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 28 Carnaby Close
Prudhoe
NE42 5QY
Carried Out On | 02/07/2021
Survey Completed By | Adam McCallum
SECTION 2: Introduction
Emergency leak

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8948
SECTION 3: Report
Remove 400 base unit from under sink to access main water feed into house for repair by plumber and refitted unit plumbed washer back up . Took pictures and sent to josh so he can send them onto karbon homes. There is 3 new end panels needed and 2 metres of plinth to be replaced as they have water damage and are starting to delaminate. Also spoke with Alison from karbon whilst I was in property and she asked what was damaged and needed replaced .

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8948
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8948
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8948
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8948
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8948
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes