## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Rooms within House: 2 Candlish Court
South Shields
Tyne and Wear
NE33 3JW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8949
DATE OF REPORT: 02/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8949
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Rooms within House: 2 Candlish Court
South Shields
Tyne and Wear
NE33 3JW
Carried Out On | 02/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Iws water test said that water not hot enough and could be a legionnaire disease risk. Temperature needs to be raised ---- No covid issues

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8949
SECTION 3: Report
Attend site 1430 for no hot water Find all ok but iws has said that the water temps are low this site is waiting for a new plant room installed Re quote and email josh with the findings. Offsitec1600 fow

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8949
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8949
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8949
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8949
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8949
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes