## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
87 Pipe Track Lane
Newcastle upon Tyne
Tyne and Wear
NE4 8JQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-8984
DATE OF REPORT: 12/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-8984
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 87 Pipe Track Lane
Newcastle upon Tyne
Tyne and Wear
NE4 8JQ
Carried Out On | 05/07/2021 , 09/07/2021, 12/07/2021
Survey Completed By | Adam McCallum
SECTION 2: Introduction
Replacement Boiler required - Current boiler is a Vaillant Ecotec 28kw fitted in the garage boiler has 3 x lengths flue pipe (1m) and 3 x 90 degree Elbows - The distance from the bottom of the flue to the garage door is only 200mm -accessible gas meter just outside the garage door and has a 22mm supply to the boiler.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-8984
SECTION 3: Report
Been sourcingmaterials for job to return to on Monday morning 12th July. Removed old fascia made timber frame work to sit above garage door and fixed in place and covered in new fascia.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-8984
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8984
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8984
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8984
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-8984
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes