## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Spring View
Bristol Drive
Battle Hill
NE28 9TH
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-9019
DATE OF REPORT: 06/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9019
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Unit 1 Hunslet Trading Estate
Servern Way
Hunslet
Leeds
LS10 1BL
Site Address | Spring View
Bristol Drive
Battle Hill
NE28 9TH
Carried Out On | 05/07/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Residents are complaining of excessive heat in foyers and lounge despite heating being off.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9019
SECTION 3: Report
When arriving on site I used the heat camera to see what circuits were still running. Discovered that two actuator heads had been removed completely allowing tbe circuit to flow continuously without control. After speaking to zenith office I found out that they had been removed by ourselves while carrying out a cartridge change and as we aren’t permitted to do electrical works passed back to Morgan Sindle who haven’t been back yet. I tested everything mechanically was still working but putting the removed heads back on and the circuit started to cool as it should. Spoke to Rebecca from Morgan sindle who has raised a job for an electrician to go and re wire the heads into the Center. And have left the heads on as instructed by the site manager to stop the flow of heat.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9019
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9019
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9019
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9019
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9019
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes