## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
40 Harperley Gardens
Stanley
County Durham
DH9 8RZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9022
DATE OF REPORT: 06/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9022
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 40 Harperley Gardens
Stanley
County Durham
DH9 8RZ
Carried Out On | 05/07/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
renew boiler posible flush required

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9022
SECTION 3: Report
Boiler being removed - valiant eco tec 29 Standoff kit required - no 22mm gas pipe visible at boiler - yes Flue - vertical Updated controls required - yes Condensate pump required - no but will need re drilled in 32mm Filter required - yes Other means of heating - boiler is still on currently but it is leaking. System has been flushed today Monday the 5th

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9022
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9022
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9022
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9022
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9022
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes