## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
44 Mayfield Park
Bristol Drive
Wallsend
NE28 9BF
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-9032
DATE OF REPORT: 09/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9032
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | 44 Mayfield Park
Bristol Drive
Wallsend
NE28 9BF
Carried Out On | 08/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No heating in master bedroom

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9032
SECTION 3: Report
Attend site for no heating in main bedroom Attend sitecgain access to heating manifold and carry out tests trace fault to room stat not switching when turned on, using a room stat from van stock isolate electrical supply and swap out room stat fitting a newclink in as new stats come with out the link.check operation of all components all ok Parts used 1 x room stat van stock

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9032
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9032
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9032
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9032
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9032
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes