## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
9 Holborn House
Commercial Road
South Shields
NE33 1EA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9042
DATE OF REPORT: 09/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9042
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 9 Holborn House
Commercial Road
South Shields
NE33 1EA
Carried Out On | 08/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Issues with bedroom radiator - you attended on 28th of june for this radiator as the stat showed radiator off but it was stil boiling but now the tenant cant seem to get the radiator on at all.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9042
SECTION 3: Report
Attended last week to install a new 2 port valve now tenant saying the radiators in main bedroom not turning on, find room stat turned up enough, stat showing actual room temp of 26° and room stat set for 22° explain to tenant that they will have to turn stat higher than actual room temp to bring it on, I set stat to 30° and radiators got hot . Tenant now knows how to use room stat

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9042
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9042
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9042
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9042
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9042
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes