## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
26 Chapelville
Front Street
Seaton Burn
NE13 6EH
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-9043
DATE OF REPORT: 09/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9043
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Unit 1 Hunslet Trading Estate
Servern Way
Hunslet
Leeds
LS10 1BL
Site Address | 26 Chapelville
Front Street
Seaton Burn
NE13 6EH
Carried Out On | 08/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
FALSE

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9043
SECTION 3: Report
Find leak in store cuboard coming from auto air vent off heating pipework. Isolate heating and drain down strip out old leaking auto air vent, and replace with new 1/2" auto air vent , fill and vent system test for leaks all, ok. Clean heating pipework up and wipe down carpets but will need a proper clean. Parts used 1 x 1/2" auto air vent Offsite 1115 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9043
SECTION 4: Photos
Room / Area
Description
Notes
New auto air vent fitted
Room / Area
Description
Notes
Lagging damaged
Room / Area
Description
Notes
Carpet needs cleaned
ZENITH MECHANICAL SERVICES
Report Number | 21-9043
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9043
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9043
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9043
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes