## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
57 Front Street
Leadgate
Consett
DH8 7SE
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9044
DATE OF REPORT: 09/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9044
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 57 Front Street
Leadgate
Consett
DH8 7SE
Carried Out On | 06/07/2021, 07/07/2021 , 09/07/2021
Survey Completed By | Adam McCallum
SECTION 2: Introduction
renew boiler ASAP

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9044
SECTION 3: Report
Location - kitchen Boiler being removed - valiant eco tec pro Standoff kit required - no 22mm gas pipe visible at boiler - yes Flue - horizontal Updated controls required - yes Condensate pump required - no Filter required - yes Other means of heating - no Urgent job, boiler is off. Repaired original pipe boxing by glueing strip back onto the side of existing boxing as Tenant wanted to keep that boxing as it matched there kitchen units.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9044
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9044
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9044
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9044
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9044
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes