## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Renwick House
Abbey Meadows
Kirkhill
NE61 2BN
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9050
DATE OF REPORT: 08/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9050
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Renwick House
Abbey Meadows
Kirkhill
NE61 2BN
Carried Out On | 25/06/2021, , 20/08/2021, 23/08/2021, 25/08/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Can Zenith please check pumps and boilers in boiler house as I've been told 2 boilers and pumps are turned off.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9050
SECTION 3: Report
Attend site to reinstall flue on to boilers no 1 and 2 once installed unable to get full slip on flue to the appliance adapter so had to stripmout and try to seek out extended parts Left sitecwith boiler no 3 working Offsite 1115 fowv Pick up parts on way up to site onsite 1245 Isolate heating and install new appliance adapters to each boilers x3 reinstall the flues and new adapters to the boilers to the flues increasing the lengh so the adapters fit correctly. Reinstated the condensate pipework and the gas pipework once all fitted commission the boilers all left working Off site 1630 complete Carry out ndgs for the 3 boilers

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9050
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9050
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9050
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9050
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9050
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes