## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
110 Fines Park
Annfield Plain
Stanley
DH9 8QZ
CARRIED OUT ON BEHALF OF
G Emerson
REPORT NUMBER: 21-9051
DATE OF REPORT: 06/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9051
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | G Emerson
Address | 8 Seagent Place
The Woodlands
Shotley Bridge
Consett
DH8 0TR
Site Address | 110 Fines Park
Annfield Plain
Stanley
DH9 8QZ
Carried Out On | 06/07/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
Boiler leaking badly through ceiling, tenant sending images through

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9051
SECTION 3: Report
When arrived on site inspected boiler to find plate heat exchanger with multiple pin holes in. Isolated the cold feed to the boiler stopping the water from persisting. Upon further inspection found that tbe boiler is still in warranty. Tenants still with use of electric shower and heating. Spoke to JH and Job to be passed back to baxi for repair as boiler still under warranty. Could someone please let the tenant know when we hear back from back. Tenant phone number checked when at job and is correct. 1 hour spent at job.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9051
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9051
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9051
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9051
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9051
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes