## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 Aged Miners Homes
Metal Bridge
Tursdale
DH6 5PA
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-9052
DATE OF REPORT: 09/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9052
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 4 Aged Miners Homes
Metal Bridge
Tursdale
DH6 5PA
Carried Out On | 08/07/2021, 09/07/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
Burner insulation and associated gaskets to be replaced

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9052
SECTION 3: Report
Got boiler working but also requires a condensate trap. Replaced condensate trap and tested all ok

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9052
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9052
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9052
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9052
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9052
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes