## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
9 Holmewood House
13 Esplanade West
Sunderland
SR2 7BG
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9055
DATE OF REPORT: 14/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9055
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 9 Holmewood House
13 Esplanade West
Sunderland
SR2 7BG
Carried Out On | 07/07/2021, 14/07/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
No heating or hot water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9055
SECTION 3: Report
Boiler losing pressure due to faulty expansion. Water coming out of schrader valve when compressed. New expansion (part no 5114691) and new prv required (part no 248056). Tried recharging expansion for temp fix until vessel can be changed. Sunderland wolsley have both parts in stock. Flow valve under boiler was also isolated along with valve on magnaclean. When parts are fitted check the filter on the return pipe. Replaced expansion and prv. Removed filter from return valve as when trying to remove to clean filter snapped due to corrosion. Pressure held on boiler and heating was cieculating much better.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9055
SECTION 4: Photos
Room / Area
Kitchen
Description
Expansion tank needs replacing
Notes
Room / Area
Kitchen
Description
Replacement expansion and prv
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9055
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9055
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9055
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9055
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes