## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
36 Burn Promenade
Burn Park Road
Houghton-Le-Spring
DH4 5EJ
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 21-9080
DATE OF REPORT: 04/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9080
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | 36 Burn Promenade
Burn Park Road
Houghton-Le-Spring
DH4 5EJ
Carried Out On | 07/07/2021, 09/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
resident mrs marshall is 89 years old and is unable to stand the heat in the property.it appears that x3 radiators have no tvr's and she is unable to contol the temperature. resident is covid free. please call daughter jennifer tel:01914167093 for access

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9080
SECTION 3: Report
Attend site 1700 for heating not turning off Gain access to flat find room stat off but actuator still open check with multi meter and find actuator stuck open, take head off and manually close , a new valve is required Parts required 2 x 3/4" -22mm female iron adapters 1 x 22mm copper 1 x honeywell 2 port valve Needs to be fitted on Friday as tennant has no heating Offsite 1745 fow Onsite 0800 09/07/21 Attend site and drain down heating system , strip out the old 2 port which was piped in steel and replace with a 22mm honey well 2 port valve pipe up in copper Fill and vent test all ok Parts used 1 x 22mm honeywell 2 port valve 2 x 3/4" fittings 1 x 22mm copper Offsite 1000 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9080
SECTION 4: Photos
Room / Area
Description
Notes
Actuator removed and valve manually closed
Room / Area
Description
Notes
New valve fitted
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9080
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9080
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9080
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9080
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes