## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
9 Edward Cain Court
Horden
Peterlee
SR8 4EB
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-9081
DATE OF REPORT: 08/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9081
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 9 Edward Cain Court
Horden
Peterlee
SR8 4EB
Carried Out On | 07/07/2021
Survey Completed By | Rhys Brown
SECTION 2: Introduction
No hw - Tenant says DAMHA engineer has been out today and now they have no heating/hot water. See extra notes from visit at end of June.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9081
SECTION 3: Report
Attended site to find that damah engineer that attended hadn’t fully unblocked the condensate (or re piped as requested per dl) so flexible hose from condensate was detached and drained into a bucket. Engineer to re attend to re pipe condensate.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9081
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9081
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9081
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9081
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9081
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes