## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Ferndene
Theap Gardens
Howdon
NE28 7HT
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-9090
DATE OF REPORT: 14/09/2022
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9090
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Ferndene
Theap Gardens
Howdon
NE28 7HT
Carried Out On | 19/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
AGSC

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9090
SECTION 3: Report
Attend site to carry out ppm 0800 3 no boilers stripped and cleaned commissioned and tested No 3 boiler unable to test as the pump is siezed and boiler won't fire leave switched off quote submitted 1 no grundfos magna 3d 40 150- f250 twin set heating pumps tested all ok no issues 1 no grundfos magna 3d 40 120 - f250 twin set primary pump tested all ok no issues 1 no hamworthy chesil pressurisation unit tested and no issues 1 no hamworthy 400ltr expansion vessel drained down and pressure set to 1.5 bar 2 no hamworthy 60ltr dhw expansion vessels drained and pressure set 3.5bar 2 no hamworthy powerstock calorfiers checked no 2 is showing over heat fault but I've checked and stat ok 1 no grundfos magna 3 25-60 n 180 domestic heating pump tested no issues All pipework and associated valves and fitting ok no issues Boiler 3 needs new shunt pump and flow switch Offsite 1400 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9090
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9090
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9090
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9090
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9090
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes