## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Moorcroft
Bowman Drive
Dudley
NE23 7FF
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-9091
DATE OF REPORT: 30/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9091
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Moorcroft
Bowman Drive
Dudley
NE23 7FF
Carried Out On | 20/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
AGSC

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9091
SECTION 3: Report
Attend site 0800 for annual ppm visit 3 x Remeha Quinta pro 115 boilers stripped cleaned new gaskets fitted and commissioned all ok no issues 2 x grundfos magna 65-120 f heating pumps tested all ok no issues 1 x grundfos magna 50-120 f primary pump tested no issues ok 1 x grundfos magna 3d 50-120 primary pump tested no issues ok (this was only fitted recently) 1 x ekti 300 ltr heating expansion vessel isolated draind and pressure checked 1.5 bar all ok no issues 2 x unknown caloifers checked found emersion elements to be leaking on both requires 4 x 13" emersion elements 1 x grundfos alpha 2 15-50 dhw pump checked no issues all ok 1 x flamco midi fill pressurisation unit unable to test as displayed is u/s new pressurisation unit required Lagging in poor condition in various areas All pipework and valves tested all ok no Leaks Parts required 4 x 13" emersion heater elements £80 total 1 day to change as both calorfier have to be completely drained 1 x Stuart Turner midi £600 4 hrs to fit

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9091
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9091
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9091
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9091
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9091
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes