## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
20 Castle Lea
Prudhoe
NE42 6NH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9093
DATE OF REPORT: 09/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9093
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 20 Castle Lea
Prudhoe
NE42 6NH
Carried Out On | 08/07/2021, 09/07/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Install gas hob

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9093
SECTION 3: Report
Re site existing pipe work to a new position for the hob. Fitted gas hob in kitchen. Used section of copper pipe and fitting to connect to hob. Second hand hob signs of rust on one side. Quarter of a mbar drop on gas both before and after fitting gas hob.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9093
SECTION 4: Photos
Room / Area
Kitchen
Description
Hob
Notes
Room / Area
Kitchen
Description
Hob pipework
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9093
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9093
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9093
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9093
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes