## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
1 - 34 Lynwood House
Durham Road
Lanchester
DH7 0LS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9112
DATE OF REPORT: 09/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9112
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 1 - 34 Lynwood House
Durham Road
Lanchester
DH7 0LS
Carried Out On | 09/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No hot water - no 5 and 17 reported no hot water spoke to work sch advised to raise on block

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9112
SECTION 3: Report
Attend site 1030 for no hot water Gain access to plant room find both boilers had tripped reset boilers and boilers fired up , whilst in the boiler room I noticed that there was water leaking through the ceiling from the flat above flat 21 , gain access to flat above and locate pipework find both hot water meters leaking badly , I isolated and picked up materials to pipe them out, on returning to site 3 more flats complained of water on the f.oor near the pipework cuboard flat 3,4 and flat 20 check these and find all the water meters are leaking quite badly, so pick up extra materials to pipe all water meters out . Once back on site, isolate and drain dhw system and strip out the 8 x dhw meters and pipe them out using fittings and copper pipe , once all piped up fill and vent the dhw circuit and run until hot. Contact Dave Brown who informed me that he wants the meters reinstated so ordered new meters 5 - 7 working days

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9112
SECTION 4: Photos
Room / Area
Description
Notes
Leaking water meters
Room / Area
Description
Notes
Water meters stripped out and replaced with pipework
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9112
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9112
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9112
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9112
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes