## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Communal Area
Osborne Villas
9 Osborne Avenue
NE2 1JU
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9146
DATE OF REPORT: 12/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9146
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Communal Area
Osborne Villas
9 Osborne Avenue
NE2 1JU
Carried Out On | 12/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
No hot water to guest room

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9146
SECTION 3: Report
Attend site 1200 for no hot water Find boiler has been isolated and labelled up as unsafe to use as theres a chance the emergency exit door could open against the flue and damage it, there's a flue guard fitted that is stopping the door touching the flue. I've reinstated the boiler by re connecting the gas supply , carried out a tightness test which passed and reinstated the electrical supply. The boiler has re commissioned and tested and the flue checked and found to be sound with no damage The analiser results Co2 5.52% Ratio 0009 Co 51ppm And are within the boiler manufacturer recommended readings. Adam is going to attend to fit a door stop to stop the door opening onto the flue

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9146
SECTION 4: Photos
Room / Area
Description
Notes
The door opens onto the flue
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9146
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9146
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9146
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9146
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes