## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
36 Burn Promenade
Burn Park Road
Houghton-Le-Spring
DH4 5EJ
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 21-9151
DATE OF REPORT: 12/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9151
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | 36 Burn Promenade
Burn Park Road
Houghton-Le-Spring
DH4 5EJ
Carried Out On | 12/07/2021
Survey Completed By | Graham Parker
SECTION 2: Introduction
Flat 36 has no heating - resident is 89 and has health and mobility issues. Please attend as soon as you can

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9151
SECTION 3: Report
When I arrived all radiators were cold and noticed room thermostat and time clock were turned off the lady couldn’t explain to me how she controlled her radiators apart from by adjusting wheel head valve. I checked operation of the new zone valve this was working fine. So I have turned on time clock on to constant and explained how to operate the room thermostat of which I don’t think she fully understood and said if she struggles to turn off the wheel heads. I also recommend the daughter visits at the same time if another call comes in

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9151
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9151
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9151
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9151
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9151
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes