## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
3 Park View
Consett
DH8 6LU
CARRIED OUT ON BEHALF OF
Mrs Michelle Malone
REPORT NUMBER: 21-9158
DATE OF REPORT: 13/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9158
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Mrs Michelle Malone
Address | 3 Park View
Consett
County Durham
DH8 6LU
Site Address | 3 Park View
Consett
DH8 6LU
Carried Out On | 13/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Boiler is not working, tenant reports there are flashing lights on the boiler and there is no hot water in the property

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9158
SECTION 3: Report
Attend site 1600 Find boiler in fault trace to pcb pick new pcb up and fit. Test all ok Parts used Baxi 105e pcb Offsite 1630 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9158
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9158
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9158
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9158
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9158
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes