## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
211 Wingrove Avenue
Newcastle upon Tyne
Tyne & Wear
NE4 9AB
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9183
DATE OF REPORT: 14/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9183
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 211 Wingrove Avenue
Newcastle upon Tyne
Tyne & Wear
NE4 9AB
Carried Out On | 14/07/2021, 16/07/2021
Survey Completed By | Ian Atkinson
SECTION 2: Introduction
Renew boiler - The boilers in a lounge cupboard of a 1st floor flat access for roof is good. Very little if any pipe work alterations required. ---- Flue required 2x 1m lengths 2 x 45?s and a vertical terminal assembly.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9183
SECTION 3: Report
Combi 2 combi v flue gas in 22 . 3flue extension 2 90s 2 45s v flue and collar

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9183
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9183
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9183
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9183
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9183
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes