## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
50 The Elms
Chester-Le-Street
County Durham
DH2 3EJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9194
DATE OF REPORT: 21/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9194
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 50 The Elms
Chester-Le-Street
County Durham
DH2 3EJ
Carried Out On | 21/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Investigate loud noises coming from service cupboard ongoing for several days and resident very concerned. Heating equipment in service cupboard contractor is Zenith. Reported by Lisa Hunt 8041. Contact customer direct with appointment on 0191 3885490.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9194
SECTION 3: Report
Attend site for noise coming from heating cuboard 1200. No noise on arrival, run hot water taps and turn on all heating check for noises but no noise noticed. Manager was on site with me and also noted that there's wasn't any noise so asked if noise returns , for them to film it on a smart phone and let us know if the heating or hot water is on so we can investigate further Offsite 1245 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9194
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9194
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9194
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9194
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9194
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes