## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
21 Park Lane
Murton
County Durham
SR7 9RW
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 21-9201
DATE OF REPORT: 23/09/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9201
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 21 Park Lane
Murton
County Durham
SR7 9RW
Carried Out On | 23/09/2021
Survey Completed By | Kieran Holmes
SECTION 2: Introduction
Requires new condensate trap. ATR103360105DC, GC no. 41-605-52 Job REF 21-8653

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9201
SECTION 3: Report
Replaced Condensate trap as cracked. Failed flue integrity test, replaced flue seal on top of heat exchanger as in very poor condition, couldn't remove and just fell to bits when tried to remove. Burner chamber seals also corroded so replaced as failing O2 test when seal had been changed.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9201
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9201
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9201
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9201
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9201
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes