## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
19 Athlone Court
Blyth
Northumberland
NE24 1EW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9229
DATE OF REPORT: 16/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9229
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 19 Athlone Court
Blyth
Northumberland
NE24 1EW
Carried Out On | 16/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Tenant unable to get hot wtaer same issue as yesterday ---- ---- No COVID issues

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9229
SECTION 3: Report
Attend site 1630 Gain access ess to flat 19 and 13 find both have hot water so check plant room find dhw pump had tripped reset and test operation all site all has hot water 19 is at the other end of rhe building so when pump trips the hot water will, take an age to circulate around. Site has hot water Offsite 1730 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9229
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9229
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9229
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9229
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9229
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes