## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Eldon Court
Calvering Street
Willington Quary
NE28 6SW
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 21-9234
DATE OF REPORT: 26/07/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9234
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | 21b West Chirton Industrial Estate
Oak Road
West Chirton
North Shields
NE29 8SF
Site Address | Eldon Court
Calvering Street
Willington Quary
NE28 6SW
Carried Out On | 16/07/2021, 26/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Fault in plant room one of the units is making a noise displaying a system leak low pressure on the screen.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9234
SECTION 3: Report
Attend site at 1400 for alarm going off in plant room Find ash pump pressurisation unit faulty and leaking trace to non return valve off pump 2 isolate pump and cap off fill system and order parts Offsite 1500 fow Attend site 0830 26/07/21 Travel to wholesalers to collect parts and attend site. Isolate ASH heating pressurisation unit and drain unit down , strip out both pumps and strip out non return valves, replace with new and fill and vent system, Recommission and test unit all ok heating not back flowing into header unit all working as it should Parts used 2 x wilo non return valves off pumps Offsite complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9234
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9234
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9234
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9234
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9234
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes