## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
12 Lynwood House
Durham Road
Lanchester
DH7 0LS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 21-9235
DATE OF REPORT: 04/08/2021
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 21-9235
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 12 Lynwood House
Durham Road
Lanchester
DH7 0LS
Carried Out On | 16/07/2021, 21/07/2021
Survey Completed By | Dave Aston
SECTION 2: Introduction
Check underfloor heating valves - flat uncomfortly warm

## Report
ZENITH MECHANICAL SERVICES
Report Number | 21-9235
SECTION 3: Report
Attend site 1830 Find all controls off but heating pipework hot new cartridges and actuators needed will fit when they come into stock and I'll fit when I'm onsire fitting no 26's turn off manifold so heating is off Offsite 1715 fow 21/07/21 1600 Isolate and drain underfloor heating strip out 4 underfloor cartridges and replace , change the 4 actuators and test all operation of all components Notice water meters x 2 leaking needs changing out Parts used 4x uponor underfloor heating cartridges van stock 4 x uponor underfloor heating actuators van stock Offsite 1700 complete

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 21-9235
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9235
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9235
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9235
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 21-9235
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes